## Anchors
Anchor | D47 | Reference
ETH-1 | 0.2052 | Bernasconi et al. (2021) | MERCK | 0.5135 | Bernasconi et al. (2021)
ETH-2 | 0.2085 | Bernasconi et al. (2021)
ETH-3 | 0.6132 | Bernasconi et al. (2021)
ETH-4 | 0.4505 | Bernasconi et al. (2021)
IAEA-C2 | 0.6409 | Bernasconi et al. (2021)

## Constants
Name | Value | Reference
calc_a18O | 1.0087 | Kim et al. (2007)
dolo_a18O | 1.0099 | Rosenbaum and Sheppard
arag_a18O | 1.0091 | Kim et al. (2007)

## Thresholds
Type | Value | Description | Default
long_term_SD | 0.103 | Long term (i.e., > several weeks) average external SD on d47 for all standards | 0.103
num_SD | 5 | How many SD from median d47 to start excluding cycles | 5
bad_count_thresh | 10 | How many remove cycles before entire analysis is removed | 10
transducer_pressure_thresh | 15 | Transducer pressure below which analysis is removed | 15
balance_high | 1 | Balance above which analysis is removed | 1
balance_low | -1 | Balance below which analysis is removed | -1

## Rename_by_UID
UID | New_name | Explanation
15748 | ARAGONITE-1-HT
18238 | ETH-1
18308 | ETH-3
14379 | ETH-1 | This was labelled as ETH-3, but looks like ETH-1 in D47/d47 space
13647 | ETH-1 | This was labelled as ETH-4, but looks like ETH-1 in D47/d47 space
14374 | ETH-1 | This was labelled as ETH-4, but looks like ETH-1 in D47/d47 space
15128 | ETH-2 | Off by one error in batch data file 20211004
15129 | ETH-3 | Off by one error in batch data file 20211004
15130 | PM-B | Off by one error in batch data file 20211004
15131 | GCAZ-01b | Off by one error in batch data file 20211004
15132 | BB-CC-FF | Off by one error in batch data file 20211004
15133 | ETH-4 | Off by one error in batch data file 20211004
15134 | ETH-1 | Off by one error in batch data file 20211004
15135 | SIGAL | Off by one error in batch data file 20211004
15136 | PM-B | Off by one error in batch data file 20211004
15137 | IPGP-CARRARA | Off by one error in batch data file 20211004
15138 | ETH-4 | Off by one error in batch data file 20211004
15139 | ETH-3 | Off by one error in batch data file 20211004
15140 | GS-B | Off by one error in batch data file 20211004
15141 | CROCRO-A | Off by one error in batch data file 20211004
15142 | PM-B | Off by one error in batch data file 20211004
15143 | ETH-1 | Off by one error in batch data file 20211004
15144 | ETH-2 | Off by one error in batch data file 20211004
15145 | BE-B | Off by one error in batch data file 20211004
15146 | THUTHY-A | Off by one error in batch data file 20211004
15147 | IAEA-C1 | Off by one error in batch data file 20211004
15148 | ETH-4 | Off by one error in batch data file 20211004
15149 | ETH-2 | Off by one error in batch data file 20211004
15150 | GCAZ-01b | Off by one error in batch data file 20211004
15151 | PM-B | Off by one error in batch data file 20211004
15152 | VARNIL-A | Off by one error in batch data file 20211004
15153 | ETH-3 | Off by one error in batch data file 20211004
15154 | ETH-1 | Off by one error in batch data file 20211004
15155 | GCAZ-01b | Off by one error in batch data file 20211004
15156 | SIGAL | Off by one error in batch data file 20211004
15157 | CROCRO-A | Off by one error in batch data file 20211004
15158 | ETH-1 | Off by one error in batch data file 20211004
15159 | ETH-2 | Off by one error in batch data file 20211004
15160 | PM-B | Off by one error in batch data file 20211004
15161 | SIGAL | Off by one error in batch data file 20211004
15162 | GCAZ-01b | Off by one error in batch data file 20211004
15163 | ETH-3 | Off by one error in batch data file 20211004
15164 | ETH-4 | Off by one error in batch data file 20211004
15165 | SIGAL | Off by one error in batch data file 20211004
15166 | MERCK | Off by one error in batch data file 20211004
15167 | GCAZ-01b | Off by one error in batch data file 20211004
15168 | ETH-1 | Off by one error in batch data file 20211004
15169 | ETH-3 | Off by one error in batch data file 20211004
15171 | ETH-2 | Orig. labelled as ETH-4 -- I think I misweighed all the ETH-4 in this batch
15182 | ETH-2 | Orig. labelled as ETH-4 -- I think I misweighed all the ETH-4 in this batch
15184 | ETH-2 | Orig. labelled as ETH-4 -- I think I misweighed all the ETH-4 in this batch
15748 | ARAGONITE-1-HT | Orig labelled as ARAGONITE-2-HT; values suggest it is ARAGONITE-1-HT
15137 | IPGP-Carrara | Just changing capitalization
17268 | ETH-2 | Mislabelled ETH
17258 | ETH-1 | Mislabelled ETH
14379 | ETH-1 | This was labelled as ETH-3, but looks like ETH-1 in D47/d47 space
13647 | ETH-1 | This was labelled as ETH-4, but looks like ETH-1 in D47/d47 space
14374 | ETH-1 | This was labelled as ETH-4, but looks like ETH-1 in D47/d47 space
9050 | ETH-1 | from clumpy format
9051 | ETH-2 | from clumpy format
9052 | ETH-3 | from clumpy format
9053 | ETH-4 | from clumpy format
9054 | IAEA-C1 | from clumpy format
9055 | UWCP14_50C_7 | from clumpy format
9056 | UWCP14_4C_4 | from clumpy format
9057 | UWCP14_70C_CA_4 | from clumpy format
9058 | ETH-4 | from clumpy format
9059 | ETH-3 | from clumpy format
9060 | UWCP14_21C_1 | from clumpy format
10338 | ETH-1 | from clumpy format
10339 | ETH-2 | from clumpy format
10340 | ETH-3 | from clumpy format
10341 | ETH-4 | from clumpy format
10342 | ETH-2 | from clumpy format
10343 | ETH-1 | from clumpy format
10344 | ETH-4 | from clumpy format
10345 | ETH-3 | from clumpy format
10346 | IAEA-C2 | from clumpy format
10347 | KELE_BUK_4 | from clumpy format
10348 | KELE_IGAL | from clumpy format
10349 | KELE_NG_2 | from clumpy format
10350 | ETH-2 | from clumpy format
10351 | ETH-4 | from clumpy format
10352 | UWCP14_20C_CA_11 | from clumpy format
10353 | UWCP14_4C_3 | from clumpy format
10354 | KELE_AQUA_BORRA | from clumpy format
10355 | ETH-1 | from clumpy format
10356 | ETH-3 | from clumpy format
10357 | KELE_CANARIAN | from clumpy format
10358 | KELE_GAWATUPA | from clumpy format
10359 | KELE_IGAL | from clumpy format
10360 | ETH-2 | from clumpy format
10361 | ETH-1 | from clumpy format
10362 | KELE_P5_WINTER | from clumpy format
10363 | KELE_SARTEANO | from clumpy format
10364 | UWCP14_20C_9 | from clumpy format
10365 | ETH-4 | from clumpy format
10366 | ETH-3 | from clumpy format
10367 | UWCP14_20C_CA_11 | from clumpy format
10368 | UWCP14_21C_1 | from clumpy format
10369 | UWCP14_4C_3 | from clumpy format
10370 | ETH-4 | from clumpy format
10371 | ETH-2 | from clumpy format
10372 | UWCP14_50C_2 | from clumpy format
10373 | UWCP14_60C_2 | from clumpy format
10375 | MERCK | from clumpy format
10376 | ETH-1 | from clumpy format
10377 | ETH-3 | from clumpy format
11068 | ETH-3 | from clumpy format
11069 | ETH-1 | from clumpy format
11070 | ETH-4 | from clumpy format
11071 | ETH-2 | from clumpy format
11072 | IAEA-C2 | from clumpy format
11073 | BONI_IPGP_80_1 | from clumpy format
11074 | BONI_IPGP_100_A3 | from clumpy format
11075 | BONI_IPGP_250 | from clumpy format
11076 | ETH-2 | from clumpy format
11077 | ETH-3 | from clumpy format
11078 | JOHN_HT_25C | from clumpy format
11079 | JOHN_HT_80C | from clumpy format
11080 | ETH-4 | from clumpy format
11081 | KELE_AQUA_BORRA | from clumpy format
11082 | ETH-1 | from clumpy format
11083 | UWCP14_8C_CA_4 | from clumpy format
11084 | KELE_TURA | from clumpy format
11085 | KELE_NG_2 | from clumpy format
11086 | ETH-4 | from clumpy format
11087 | ETH-3 | from clumpy format
11088 | IAEA-C1 | from clumpy format
11089 | MERCK | from clumpy format
17258 | ETH-1
13645 | BONI_150_A4 | Clear from D47/d18O/d13C that this one was mislabelled

## Names_to_change
old_name | new_name
ETH-01 | ETH-1
ETH01 | ETH-1
ETH1 | ETH-1
ETH_01 | ETH-1
ETH-02 | ETH-2
ETH02 | ETH-2
ETH2 | ETH-2
ETH_02 | ETH-2
ETH-03 | ETH-3
ETH03 | ETH-3
ETH3 | ETH-3
ETH_03 | ETH-3
ETH-04 | ETH-4
ETH04 | ETH-4
ETH4 | ETH-4
ETH_04 | ETH-4
IACA-C1 | IAEA-C1
IAEAC1 | IAEA-C1
IAEAC2 | IAEA-C2
MERCK_STD | MERCK
Merck | MERCK
Merck_STD | MERCK
Rodolo_Dolomite | RODOLO
Rodolo | RODOLO
RODOLO_DOLOMITE | RODOLO
Sansa_Dolomite | SANSA
Sansa | SANSA
SANSA_DOLOMITE | SANSA
TV-03 | TV-04
EHT-01 | ETH-1
EHT-02 | ETH-2
EHT-03 | ETH-3
EHT-04 | ETH-4
ARAG-2-HT | ARAGONITE-2-HT
CALC-2-HT | CALCITE-2-HT
CALC-4-HT | CALCITE-4-HT
ELMO-457-AMP | ELMO-457
ARC64 | IPGP-ARC-64
Arc64 | IPGP-ARC-64
Arc65 | IPGP-ARC-65
DOLOMITE 88-1 B HT | DOLOMITE-88-1bHT
ELMO-457 | DOLOMITE-3-HT
ELMO-463 | ARAGONITE-3-HT
ELMO-464 | CALCITE-5-HT
ELMO-477 | DOLOMITE-4-HT
DOL-4-HT | DOLOMITE-4-HT
CALC-5-HT | CALCITE-5-HT
ARAG-3-HT | ARAGONITE-3-HT
DOL-3-HT | DOLOMITE-3-HT
CALC-1-HT | CALCITE-1-HT
FAST_HAGA | FAST-HAGA
IPGP_Carrara | IPGP-Carrara
IPGP-CARRARA | IPGP-Carrara
IPGP_TAR | IPGP-TAR
IPGP-ARC-64 | ARC-64
IPGP-ARC-65 | ARC-65
IPGP-ADK-7 | ADK-7
ADK-7 | IPGP-ADK-7
85_DOL_12WK_200C | 85_DOL_12WK_220C
BONI_IPGP_100 | BONI_IPGP_100_A3
BONI-IPGP-100-A1 | BONI_IPGP_100_A3
BONI-IPGP-100-A3 | BONI_IPGP_100_A3
BONI_IPGP_100_A3_A3 | BONI_IPGP_100_A3
BONI-IPGP-80-1 | BONI_IPGP_80_1
BONI_IPGP_80 | BONI_IPGP_80_1
BONI_IPGP_80_1_1 | BONI_IPGP_80_1
BONI-IPGP-350-A9 | BONI_IPGP_350_A9
JOHN_HT-80C | JOHN_HT_80C
KELE_ACQUA_BORRA | KELE_AQUA_BORRA
KELE_SZAL_2 | KELE_SZAL
KELE-TURA | KELE_TURA
UWCP14_50_CA_11 | UWCP14_50C_CA_11
BONI_IPGP-100-A3 | BONI_IPGP_100_A3
BONI_IPGP-350-A9 | BONI_IPGP_350_A9
GAWATUPA_TUFA | KELE_GAWATUPA
JOHN_HT25C | JOHN_HT_25C
JOHN_HT80C | JOHN_HT_80C
KELE_AQUA_BORRA_4 | KELE_AQUA_BORRA
KELE_BUK_6 | KELE_BUK_4
KELE_SARTEANG | KELE_SARTEANO
KELE-P5_WINTER | KELE_P5_WINTER
UWcp14_20C_9 | UWCP14_20C_9
UWcp14_20C_CA_11 | UWCP14_20C_CA_11
UWcp14_21C_1 | UWCP14_21C_1
UWcp14_4C_3 | UWCP14_4C_3
UWcp14_4C_4 | UWCP14_4C_4
UWcp14_50C_2 | UWCP14_50C_2
UWcp14_50C_7 | UWCP14_50C_7
UWcp14_50C_CA_10 | UWCP14_50C_CA_10
UWcp14_50C_CA_11 | UWCP14_50C_CA_11
UWcp14_60C_2 | UWCP14_60C_2
UWcp14_70C_4 | UWCP14_70C_4
UWcp14_70C_CA_4 | UWCP14_70C_CA_4
UWcp14_80C_2 | UWCP14_80C_2
UWcp14_8C_2 | UWCP14_8C_2
UWcp14_8C_6 | UWCP14_8C_6
UWcp14_8C_CA_4 | UWCP14_8C_CA_4
BONIFACIE_IPGP_80_1 | BONI_IPGP_80_1
KELE_BUK-4 | KELE_BUK_4
KELE_LaPigna | KELE_LAPIGNA
KELE_NG-2 | KELE_NG_2
SZAL-2 | KELE_SZAL
UWCP14_80C_3 | UWCP14_80C_2
UWP14_80C_2 | UWCP14_80C_2
UWP14_8C_6 | UWCP14_8C_6
UWP14_8C_CA_4 | UWCP14_8C_CA_4
UWCP14_50C_CA_10 | UWCP14_50C_CA_11
LJ1010-12A-Z1A | LJ2010-12A-Z1A
LV26NOV10-2B | LV26NOV10-2A
+ | plus
Result_10374 20191217 clumped Calibration 8 NTA 18 | RHINO_DENTIN
( | PAR
) | PAR
KELE_LA_PIGNA | KELE_LAPIGNA
MERCK STD | MERCK
14-DOLO-2_4WK-70C | 14_DOL_2_4WK_140C
20-DOLO-4WK-70C | 20_DOL_4WK_70C
85-DOLO-12-WK-220C | 85_DOL_12WK_220C
86-DOLO-12WK-220C | 86_DOL_12WK_220C
BONI_IPGP_350_A9 | BONI_IPGP_350
BONI-15-A4-AMP | BONI-150-A4-AMP
BONI-150-A4 | BONI_150_A4
BONI_150_A4-AMP | BONI_150_A4
DOLOMITE 88-1 B HT | DOLOMITE-88-1bHT
IPGP-BE-AMP | IPGP-BE
INYO-B1-AMP | INYO-B1
CALCITE-2-HT-AMP | CALCITE-2-HT
CALCITE-4-HT-AMP | CALCITE-4-HT

## Remove
UID | Notes
99999 | Ex: 20200105 NTA determined that a leak on the CO block led to erroneous D47 values
15748 | NB should be renamed to ARAGONITE-1-HT, but not working for some reason?
15904 | ETH-4 >3 SD D47
15947 | ETH-1 >3 SD D47
15237 | ETH-1 >3 SD D47
15907
17914 | ETH >3SD D47
15238 | ETH >3SD D47
15877 | >0.5 offset in d13C
15731 | >0.5 offset in d13C
15242 | Irrel
15248 | Irrel
15262 | Irrel
15277 | Irrel
15711 | Irrel
15712 | Irrel
15713 | Irrel
15716 | Irrel
15717 | Irrel
15283 | MERCK >3SD D47
18319 | ETH-1 >3 SD D47
99999 | Ex: 20200105 NTA determined that a leak on the CO block led to erroneous D47 values
14378 | All ratios are crazy, d47 is -60
13647 | All ratios are crazy, d47 is -50
13646 | All ratios are crazy, d47 is -51
13386 | D47 seemed far off; d49 is > 600
13469 | D47 is way off, but can't find any other weirdness. Provisionally disabled.
13436 | D47 is way off, but can't find any other weirdness. Provisionally disabled.
13620 | D47 is way off; d48 is -23.99 vs all others around -24.6
14376 | All ratios are way off
13558 | Bison enamel irrelevant
13559 | Bison enamel irrelevant
13560 | Bison enamel irrelevant
13645 | BONI_300 removed by peirce's criterion
14685 | First few reps after vent; D47, D48, D49 all looks bad
14686 | First few reps after vent; D47, D48, D49 all looks bad
14687 | First few reps after vent; D47, D48, D49 all looks bad
14688 | First few reps after vent; D47, D48, D49 all looks bad
14770 | Poor D47, D48, D48
15070 | D47 way off
14705 | D49 crazy
15127 | negative D47
15177 | provisional removal -- D47 bad, but nothing else noticably wrong
15197 | provisional removal -- D47 bad, but nothing else noticably wrong
15188 | first in batch, D47 far off
15146 | THUTHY negative D47 value…
15237 | D47 way high
15424 | D47 > 3SD on anchor
15299 | D47 > 3SD on anchor
15526 | D47 > 3SD on anchor
15445 | D47 > 3SD on anchor
15217 | D47 > 3SD on anchor (2nd iteration)
15163 | D47 > 3SD on anchor (2nd iteration)
15446 | D47 > 3SD on anchor (2nd iteration)
15486 | D47 > 3SD on anchor (3rd iteration)
15238 | D47 > 3SD on anchor (4th iteration)
15145 | Irrel (Bison)
15125 | Irrel (Croc)
15141 | Irrel (Croc)
15157 | Irrel (Croc)
15193 | Irrel (Croc)
15205 | Irrel (Croc)
15242 | Irrel (Croc)
15262 | Irrel (Croc)
15277 | Irrel (Croc)
15174 | Irrel (greenland shark)
15140 | Irrel (greenland shark)
15175 | Irrel (greenland shark)
15209 | Irrel (greenland shark)
15219 | Irrel (greenland shark)
15248 | Irrel (greenland shark)
15716 | Irrel (LF4)
15717 | Irrel (LF4)
15712 | Irrel (LF4)
15711 | Irrel (LF4)
15713 | Irrel (LF4)
15490 | Irrel (MCZ)
15496 | Irrel (MCZ)
15502 | Irrel (MCZ)
15491 | Irrel (MCZ)
15497 | Irrel (MCZ)
15505 | Irrel (MCZ)
15492 | Irrel (MCZ)
15500 | Irrel (MCZ)
15506 | Irrel (MCZ)
15495 | Irrel (MCZ)
15501 | Irrel (MCZ)
15507 | Irrel (MCZ)
15130 | Irrel (Pine marten)
15136 | Irrel (Pine marten)
15142 | Irrel (Pine marten)
15151 | Irrel (Pine marten)
15160 | Irrel (Pine marten)
15537 | Irrel (Tuna)
15572 | Irrel (Tuna)
15538 | Irrel (UNGCON)
15904 | ETH-4 > 3 SD
15947 | ETH-1 > 3 SD
15566 | ETH-1 > 3 SD
15283 | Merck D47 > 3SD
15731 | d18, d13, and D47 all a bit off all other reps
17291 | D47 > 3SD
17290 | D47 > 3SD
17240 | D47 > 3SD
17293 | D47 > 3SD
17261 | Irrel
17304 | Irrel
13498 | Session 20210428 has no ETH-3 (testing rxn time)
13499 | Session 20210428 has no ETH-3 (testing rxn time)
13500 | Session 20210428 has no ETH-3 (testing rxn time)
13501 | Session 20210428 has no ETH-3 (testing rxn time)
13502 | Session 20210428 has no ETH-3 (testing rxn time)
13503 | Session 20210428 has no ETH-3 (testing rxn time)
11081 | d13C/d18O off
14375 | d13C/d18O off
4616 | D47 way off
14378 | All ratios are crazy, d47 is -60
13647 | All ratios are crazy, d47 is -50
13646 | All ratios are crazy, d47 is -51
13386 | D47 seemed far off; d49 is > 600
14376 | All ratios are way off
13558 | Bison enamel irrelevant
13559 | Bison enamel irrelevant
13560 | Bison enamel irrelevant
7890 | Peirce
6984 | Peirce
7891 | Peirce
7889 | Peirce
7896 | Peirce
11782 | Peirce
9080 | Peirce
9081 | Peirce
9082 | Peirce
9083 | Peirce
9084 | Peirce
9085 | Peirce
9086 | Peirce
9087 | Peirce
9088 | Peirce
9089 | Peirce
9090 | Peirce
9091 | Peirce
9092 | Peirce
9093 | Peirce
9094 | Peirce
9095 | Peirce
9096 | Peirce
9097 | Peirce
4516 | Irrel
4517 | Irrel
4518 | Irrel
4519 | Irrel
4522 | Irrel
4523 | Irrel
4527 | Irrel
4531 | Irrel
4532 | Irrel
4533 | Irrel
4537 | Irrel
4538 | Irrel
4539 | Irrel
4540 | Irrel
4544 | Irrel
4545 | Irrel
4546 | Irrel
4550 | Irrel
4551 | Irrel
4562 | Irrel
4566 | Irrel
4567 | Irrel
4575 | Irrel
4576 | Irrel
4579 | Irrel
4580 | Irrel
4581 | Irrel
4585 | Irrel
4586 | Irrel
4587 | Irrel
4590 | Irrel
4591 | Irrel
4592 | Irrel
4595 | Irrel
4596 | Irrel
4597 | Irrel
4598 | Irrel
4602 | Irrel
4603 | Irrel
4604 | Irrel
4608 | Irrel
4609 | Irrel
4610 | Irrel
4615 | Irrel
4623 | Irrel
4624 | Irrel
4625 | Irrel
4628 | Irrel
4629 | Irrel
4630 | Irrel
4634 | Irrel
4635 | Irrel
4638 | Irrel
4639 | Irrel
4640 | Irrel
4641 | Irrel
4645 | Irrel
4646 | Irrel
4647 | Irrel
4650 | Irrel
4651 | Irrel
4652 | Irrel
4653 | Irrel
4656 | Irrel
4657 | Irrel
4658 | Irrel
4659 | Irrel
4663 | Irrel
4664 | Irrel
6946 | Irrel
6947 | Irrel
6948 | Irrel
6997 | Irrel
7000 | Irrel
7005 | Irrel
7006 | Irrel
7007 | Irrel
7015 | Irrel
7016 | Irrel
7017 | Irrel
7020 | Irrel
7021 | Irrel
7022 | Irrel
7025 | Irrel
7026 | Irrel
7027 | Irrel
7030 | Irrel
7866 | Irrel
7876 | Irrel
7894 | Irrel
8941 | Irrel
8942 | Irrel
8945 | Irrel
9022 | Irrel
9026 | Irrel
10374 | Irrel
10380 | Irrel
10381 | Irrel
10416 | Irrel
11071 | Irrel
11076 | Irrel
11080 | Irrel
13466 | MERCK D47
17316 | MERCK D47
13436 | ETH-2 D47
13470 | ETH-2 D47
11815 | ETH-2 D47
13483 | IAEA-C1 D47
17268 | ETH-4 D47
17190 | ETH-4 D47
13504 | ETH-4 D47
13533 | ETH-4 D47
13469 | ETH-1 D47
17290 | ETH-3 D47
17293 | IAEA-C2 D47
10073 | ETH-1 D47 off and vial location = 1 (first rep often off for a while there)
11018 | ETH-1 D47 off and vial location = 1 (first rep often off for a while there)
11744 | ETH-1 D47 off and vial location = 1 (first rep often off for a while there)
16972 | ETH-1 D47 off and vial location = 1 (first rep often off for a while there)
17240 | ETH-1 D47 off and vial location = 1 (first rep often off for a while there)
14300 | ETH-4 D47 off and vial location = 1 (first rep often off for a while there)
10210 | d13C is crazy, everything else looks ok
13615 | Peirce's criterion run 1 (slope 0.0439, int 0.1205) 20220518
13620 | Peirce's criterion run 1 (slope 0.0439, int 0.1205) 20220518
13545 | Peirce's criterion run 2 (slope 0.0439, int 0.1203) 20220518
13401 | Peirce's criterion run 3 (slope 0.0443, int 0.1184) 20220518
15904 | ETH-4 >3 SD D47
15947 | ETH-1 >3 SD D47
15237 | ETH-1 >3 SD D47
15907
13425
17200 | NB provisional Q1 removal -- d13/d18 poor SE, high D47 residual, low transduc, but nothing that trips requirements
16977 | J1901-4.3TOP irrel
16978 | J1901-4.3BOTTOM irrel
16981 | Dummy irrel
15941 | Undefined T for DOL-1, major outlier
17788 | Borderline pressure; very high D47 residual
8907 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8908 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8909 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8910 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8911 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8912 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8913 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8914 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8915 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8916 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8917 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8918 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8919 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8920 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8921 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8922 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8923 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8924 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8925 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8926 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8927 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8928 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8929 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8930 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8931 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8932 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8933 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8934 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8935 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8936 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8937 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8938 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8939 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8940 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8943 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8944 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8946 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8947 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8948 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8949 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8950 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8951 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8952 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8953 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8954 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8955 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8956 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8957 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8958 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8959 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8960 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8961 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8962 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8963 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8964 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8965 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8966 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8967 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8968 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8969 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8970 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8971 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8972 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8973 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8974 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8975 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8976 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8977 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8978 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8979 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8980 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8981 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8982 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8983 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8984 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8986 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8987 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8988 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8989 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8990 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8991 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8992 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8993 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8994 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8995 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8996 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8997 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
8998 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9000 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9001 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9002 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9003 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9004 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9005 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9006 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9007 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9008 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9009 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9010 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9011 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9012 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9013 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9014 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9015 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9016 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9017 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9018 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9019 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9020 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9021 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9023 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9024 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9025 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9027 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9028 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9029 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9030 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9031 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9032 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9033 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9034 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9035 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9036 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9037 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9038 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9039 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9040 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9041 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9042 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9043 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9044 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9045 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9046 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9047 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9048 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9049 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9050 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9051 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9052 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9053 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9054 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9055 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9056 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9057 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9058 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9059 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9060 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9061 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9062 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9063 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9064 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9066 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9067 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9068 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9069 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9070 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9071 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9072 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9073 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9074 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9075 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9076 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9077 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9078 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.
9079 | PROVISIONAL REMOVAL -- data from 20190103-2019114 runs have very different d47 data and may throw off blimp. Could also run as separate blimp run.

## Metadata
Sample | Mineralogy | Type | Form_T | err_Form_T | Calibration | Author | ordering_ratio | Mg | alt_Sample
ETH-1 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | ETH-1
ETH-2 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | ETH-2
ETH-3 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | ETH-3
ETH-4 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | ETH-4
IAEA-C1 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | IAEA-C1
IAEA-C2 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | IAEA-C2
SANSA | Dolomite | Synthetic_or_standard |  |  | n | Standard |  |  | SANSA
RODOLO | Dolomite | Synthetic_or_standard |  |  | n | Standard |  |  | RODOLO
MERCK | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | MERCK
ARAGONITE-1-HT | Aragonite | Synthetic_or_standard | 700 | 10 | n | Bonifacie |  |  | ARAGONITE-1-HT
ARAGONITE-2-HT | Aragonite | Synthetic_or_standard | 700 | 10 | n | Bonifacie |  |  | ARAGONITE-2-HT
CALCITE-1-HT | Calcite | Synthetic_or_standard | 1560 | 10 | n | Bonifacie |  |  | CALCITE-1-HT
CALCITE-2-HT | Calcite | Synthetic_or_standard | 1680 | 10 | n | Bonifacie |  |  | CALCITE-2-HT
CALCITE-3-HT | Calcite | Synthetic_or_standard | 1100 | 10 | n | Bonifacie |  |  | CALCITE-3-HT
CALCITE-4-HT | Calcite | Synthetic_or_standard | 1650 | 10 | n | Bonifacie |  |  | CALCITE-4-HT
DOLOMITE-1-HT | Dolomite | Synthetic_or_standard | 1200 | 10 | y | Bonifacie |  |  | DOLOMITE-1-HT
DOLOMITE-2-HT | Dolomite | Synthetic_or_standard | 1200 | 10 | y | Bonifacie |  |  | DOLOMITE-2-HT
CALCITE-5-HT | Calcite | Synthetic_or_standard | 800 | 10 | n | Bonifacie |  |  | CALCITE-5-HT
DOLOMITE-3-HT | Dolomite | Synthetic_or_standard | 1200 | 10 | y | Bonifacie |  |  | DOLOMITE-3-HT
ARAGONITE-3-HT | Aragonite | Synthetic_or_standard | 800 | 10 | n | Bonifacie |  |  | ARAGONITE-3-HT
DOLOMITE-4-HT | Dolomite | Synthetic_or_standard | 800 | 10 | y | Bonifacie |  |  | DOLOMITE-4-HT
CIT | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | CIT
DOLOMITE-88-1bHT | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | DOLOMITE-88-1bHT
Depleted_Carb | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | Depleted_Carb
FAST-HAGA | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | FAST-HAGA
GCAZ-01b | Calcite | Natural |  |  | n | Standard |  |  | GCAZ-01b
Hagit_Carrara | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | Hagit_Carrara
IPGP-ADK-7 | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-ADK-7
IPGP-ARC-64 | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-ARC-64
IPGP-ARC-65 | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-ARC-65
IPGP-Carrara | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-Carrara
IPGP-TAR | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-TAR
NBS-19 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | NBS-19
TV-04 | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | TV-04
ELMO-457-AMP | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | ELMO-457-AMP
INYO-B2 | Dolomite | Synthetic_or_standard |  |  | n | Standard |  |  | INYO-B2
IPGP-BE-AMP | Dolomite | Natural | 25 | 4 | y | Bonifacie |  |  | CVBE
IPGP-Carrara-B2 | Calcite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-Carrara-B2
SRM-88b-B2 | Dolomite | Synthetic_or_standard |  |  | n | Standard |  |  | SRM-88b-B2
14_DOL_2_4WK_140C | Dolomite | Synthetic_or_standard | 140 | 2 | y | Muller | 0.21 | 48 | Leeds 14
20_DOL_4WK_70C | Dolomite | Synthetic_or_standard | 70 | 2 | y | Muller | 0.08 | 42.7 | Leeds 20
85_DOL_12WK_220C | Dolomite | Synthetic_or_standard | 220 | 2 | y | Muller | 0.39 | 50 | Leeds 85
86_DOL_12WK_220C | Dolomite | Synthetic_or_standard | 220 | 2 | y | Muller | 0.4 | 51.5 | Leeds 86
BISON_ENAMEL_A | Dolomite | Natural | 38.7 | 1 | y | Anderson |  |  | BISON_ENAMEL_A
BONI_150_A4 | Dolomite | Synthetic_or_standard | 152.7 | 2 | y | Bonifacie | 0.48 | 49.7 | 150-A4
BONI_200_A1 | Dolomite | Synthetic_or_standard | 201.6 | 2 | y | Bonifacie | 0.35 | 48.9 | 200-A1
BONI_300_A2 | Dolomite | Synthetic_or_standard | 301.6 | 2 | y | Bonifacie | 0.39 | 48.3 | 300-A2
LIV-DC | Dolomite | Synthetic_or_standard |  |  | n | Bernasconi |  |  | LIV-DC
Q1 | Dolomite | Natural | 32 | 6 | y | Muller | 0.29 | 49.5 | Q1
SRM-88b | Dolomite | Synthetic_or_standard |  |  | n | Standard |  |  | SRM-88b
BONI_IPGP_100_A3 | Dolomite | Synthetic_or_standard | 102.3 | 2 | y | Bonifacie | 0.1 | 42.3 | 100-A3
BONI_IPGP_250 | Dolomite | Synthetic_or_standard | 252.1 | 2 | y | Bonifacie | 0.41 | 49.5 | 250-A5
BONI_IPGP_350 | Dolomite | Synthetic_or_standard | 351.4 | 2 | y | Bonifacie |  | 50.4 | 350-A9
BONI_IPGP_80_1 | Dolomite | Synthetic_or_standard | 80.2 | 2 | y | Bonifacie |  | 46.7 | 80-1
DVH-2 | Calcite | Natural |  |  | n | Daeron |  |  | DVH-2
ETH-1-1100-SAM | Calcite | Synthetic_or_standard | 1100 | 10 | y | Bernasconi |  |  | ETH-1-1100-SAM
ETH-2-1100-SAM | Calcite | Synthetic_or_standard | 1100 | 10 | y | Bernasconi |  |  | ETH-2-1100-SAM
G-1 | Calcite | Synthetic_or_standard |  |  | n | Bernasconi |  |  | G-1
GU-1 | Calcite | Synthetic_or_standard |  |  | n | Bernasconi |  |  | GU-1
JOHN_HT_25C | Calcite | Synthetic_or_standard | 25 | 2 | y | Kluge |  |  | JOHN_HT_25C
JOHN_HT_80C | Aragonite | Synthetic_or_standard | 80 | 2 | y | Kluge |  |  | JOHN_HT_80C
KELE_AQUA_BORRA | Calcite | Natural | 36.1 | 0.1 | y | Kele |  |  | KELE_AQUA_BORRA
KELE_BUK_4 | Calcite | Natural | 54.9 | 0.1 | y | Kele |  |  | KELE_BUK_4
KELE_CANARIAN | Calcite | Natural | 33.8 | 0.1 | y | Kele |  |  | KELE_CANARIAN
KELE_GAWATUPA | Calcite | Natural | 11 | 0.1 | y | Kele |  |  | KELE_GAWATUPA
KELE_IGAL | Calcite | Natural | 75 | 0.1 | y | Kele |  |  | KELE_IGAL
KELE_LAPIGNA | Calcite | Natural | 12.5 | 0.1 | y | Kele |  |  | KELE_LAPIGNA
KELE_NG_2 | Calcite | Natural | 60.4 | 0.1 | y | Kele |  |  | KELE_NG_2
KELE_P5_SUMMER | Calcite | Natural | 12 | 0.1 | y | Kele |  |  | KELE_P5_SUMMER
KELE_P5_WINTER | Calcite | Natural | 5 | 0.1 | y | Kele |  |  | KELE_P5_WINTER
KELE_SARTEANO | Calcite | Natural | 20.7 | 0.1 | y | Kele |  |  | KELE_SARTEANO
KELE_SZAL | Calcite | Natural | 11 | 0.1 | y | Kele |  |  | KELE_SZAL
KELE_TURA | Calcite | Natural | 95 | 0.1 | y | Kele |  |  | KELE_TURA
LGB-2 | Calcite | Natural |  |  | n | Daeron |  |  | LGB-2
UWCP14_20C_9 | Calcite | Synthetic_or_standard | 23 | 0.33 | y | Kelson |  |  | UWCP14_20C_9
UWCP14_20C_CA_11 | Calcite | Synthetic_or_standard | 23 | 0.34 | y | Kelson |  |  | UWCP14_20C_CA_11
UWCP14_21C_1 | Calcite | Synthetic_or_standard | 22 | 0.22 | y | Kelson |  |  | UWCP14_21C_1
UWCP14_4C_3 | Calcite | Synthetic_or_standard | 6 | 0.05 | y | Kelson |  |  | UWCP14_4C_3
UWCP14_4C_4 | Calcite | Synthetic_or_standard | 6 | 0.05 | y | Kelson |  |  | UWCP14_4C_4
UWCP14_50C_2 | Calcite | Synthetic_or_standard | 51 | 0.36 | y | Kelson |  |  | UWCP14_50C_2
UWCP14_50C_7 | Calcite | Synthetic_or_standard | 54 | 1.98 | y | Kelson |  |  | UWCP14_50C_7
UWCP14_50C_CA_11 | Calcite | Synthetic_or_standard | 50 | 0.74 | y | Kelson |  |  | UWCP14_50C_CA_11
UWCP14_60C_2 | Calcite | Synthetic_or_standard | 66 | 2.31 | y | Kelson |  |  | UWCP14_60C_2
UWCP14_70C_4 | Calcite | Synthetic_or_standard | 72 | 0.43 | y | Kelson |  |  | UWCP14_70C_4
UWCP14_70C_CA_4 | Calcite | Synthetic_or_standard | 71 | 1 | y | Kelson |  |  | UWCP14_70C_CA_4
UWCP14_80C_2 | Calcite | Synthetic_or_standard | 78 | 1.28 | y | Kelson |  |  | UWCP14_80C_2
UWCP14_8C_2 | Calcite | Synthetic_or_standard | 9 | 0.12 | y | Kelson |  |  | UWCP14_8C_2
UWCP14_8C_6 | Calcite | Synthetic_or_standard | 9 | 0.15 | y | Kelson |  |  | UWCP14_8C_6
UWCP14_8C_CA_4 | Calcite | Synthetic_or_standard | 9 | 0.12 | y | Kelson |  |  | UWCP14_8C_CA_4
BONI_150_A4-AMP | Dolomite | Synthetic_or_standard | 152.7 | 2 | y | Bonifacie |  |  | 150-A4
IPGP-BE | Dolomite | Natural | 25 | 4 | y | Bonifacie |  | 50.1 | IPGP-BE
SCHAP-60-A | Apatite | Synthetic_or_standard | 60 | 5 | y | Anderson |  |  | SCHAP-60-A
IPGP-CARRARA-B2 | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | IPGP-CARRARA-B2
ARC-64 | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | ARC-64
ARC-65 | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | ARC-65
INYO-B1 | Dolomite | Synthetic_or_standard |  |  | n | Bonifacie |  |  | INYO-B1
SIGAL | Calcite | Synthetic_or_standard |  |  | n | Standard |  |  | SIGAL